ROBOT

Reported Outcomes for Bandaging after Osteotomy Trial

ROBOT; Reported Outcomes for Bandaging after Osteotomy Trial, a single-centre, two-arm, controlled, prospective randomized trial

Version 2, dd 30 January 2018

Chief Investigator’s Statement of Ownership and Content.

I, Mr Matt Dawson, confirm that this protocol is my work and is owned by me. The protocol conforms with standards outlined in the Declaration of Helsinki 1964.

Name (PRINT):_________________________

Signature:_____________________________

Date: ________________________________

RESEARCH PROTOCOL SUMMARY

| TITLE: | A single-centre, two-arm, controlled, prospective randomized trial of 3M Coban dual-layer compression bandaging versus non-compression bandaging after high tibial osteotomy surgery. |
| --- | --- |
| Short title: | ROBOT; Reported Outcomes for Bandaging after Osteotomy Trial |
| IRAS number | 236602 |
| Device description | 3M™ Coban™ 2 Two-Layer Compression System This provides high compression (35–40 mmHg) for patients with ABPI greater than or equal to 0.8. Coban Layer Compression Systems are indicated for the treatment of venous leg ulcers, lymphedema and other conditions where compression is appropriate, such as post-operatively. Each system is supplied as a kit that includes two rolls: a Comfort Layer roll and a Compression Layer roll. |
| Study type | Medical device trial, involving CE-marked devices used for intended purpose |
| Study design | Multi-centre, two-arm, controlled, prospective randomized trial |
| Patient population | A total of 68 adult participants who have undergone high tibial osteotomy and who meet the study inclusion criteria (including being medically fit to have compression bandaging). Participants must have the capacity to provide informed written consent and complete patient reported outcome measures. - 34 Patient will receive current standard care non-compression bandaging (cotton wool and crepe bandaging over the wound site) for up to twelve consecutive days - 34 Patients will receive Coban dual layer compression bandaging for up to twelve consecutive days The study has the following sample parameters: standard deviation of 2 cm per cohort, power beta of 80%, alpha p-value of 0.05. Sample size takes into account 10% attrition rate. |
| Primary objective | To determine the level of operation-site related pain experienced at day 12 post-operation and to compare the average pain scores of patients in the control and Coban arm respectively, through administration of 10 cm visual descriptor scale (VDS) for pain. The study is powered to detect the established minimal clinically important difference (MCID) of 1.5 cm on a 10 cm VDS pain. |
| Secondary objectives | Post-operative patient-reported outcome measures: 5, 12 days, and 6, 12 weeks post-surgery - Pain perception, using VDS pain and short form McGill pain questionnaire Prior to surgery as baseline, and 12 days and 6 weeks post-surgery - Quality of night rest as measured by Richards-Campbell Sleep Questionnaire (two consecutive nights per time point) Prior to surgery as control, and 12 days, 3 weeks post-surgery - Indication of degree of swelling by measurement of thigh, suprapatellar and calf girth. Prior to surgery as baseline, and 12 weeks post-surgery, knee function and quality of life measurements - Knee and Osteoarthritis Outcome Score (KOOS) - Oxford Knee Score (OKS) - Quality of life as measured with EQ-5D-5L. Descriptive safety overview at 30 days and 12 weeks post-surgery: - Readmitted to theatre and/or hospital - Infection of wound site - Diagnosed with pulmonary embolism or deep vein thrombosis. Patient satisfaction survey at 12 days and 12 weeks post-surgery |
| Sponsor | Cumbria Partnership NHS Foundation Trust |
| Manufacturer & research grant provider | 3M United Kingdom PLC |
| Chief Investigator | Mr Matt Dawson, consultant Orthopaedic Surgeon. North Cumbria University Hospitals NHS Trust. Phone numbers: +44 (0) 1228 811 4279 (Secretary); +44 (0) 122 881 4278 (office), Email: Matt.Dawson@ncuh.nhs.uk |
| Co-investigators | Dr Leon Jonker PhD, Science & Innovation Manager, Tel. 01228605975 or 07717225725; Leon.jonker@cumbria.nhs.uk Cumbria Partnership NHS Foundation Trust R&D Department, Carleton Clinic Carlisle, CA1 3SX Ms Kirsty Robinson, Orthopaedic Specialist Practitioner, North Cumbria University Hospitals NHS Trust Ms Jose Schutter, Research Practitioner, Cumbria Partnership NHS Foundation Trust |
| Organisation where research will take place | North Cumbria University Hospitals NHS Trust Orthopaedics Department Newtown Road, Carlisle CA2 7HY, UK |
| Planned timeline | Recruitment start date (first patient, first visit) Feb 2018, Recruitment end date (last patient, first visit): Mar 2019 Recruitment end date (last patient, last visit): July 2019 |
| Protocol version, date | Version 2, dd 30 January 2018 |

Contents

1.	Lay summary	7

2.	Introduction	8

3.	Investigational device & INTERVENTION	9

3.1	Investigational device	9

3.2	Intervention	10

3.2.1	Standard care (control) arm	10

3.2.2	3M Coban compression bandaging (intervention) arm	10

4.	Study hypothesis	11

4.1	Primary objective	11

4.2	Secondary objective	11

5.	Study protocol	12

5.1	Study design, recruitment sites and timeline	12

5.2	Participant identification and research setting	12

5.3	Consent and recruitment	12

5.4	Follow-up	13

5.5	Outcome measures	13

5.5.1	Primary outcome measures	13

5.5.2	Secondary outcome measures	13

6.	Subjects	14

6.1	Anticipated number of research subjects	14

6.1.1	Randomisation	15

6.2	Eligibility criteria	15

6.2.1	Inclusion criteria	15

6.2.2	Exclusion criteria	15

6.3	Early withdrawal of subjects	16

7.	Safety	16

7.1	Potential risks & benefits to study participants	16

7.2	Safety definitions	16

7.3	Procedures for recording adverse events	17

8.	Statistical consideration and data analysis plan	18

8.1	Analysis of baseline characteristics	18

8.2	Primary outcome statistics	18

8.3	Secondary outcome statistics	19

9.	Data handling and monitoring	19

10.	Goverance of study	20

10.1	Approvals	20

10.2	Sponsor & Indemnity	20

11.	Publication and data-sharing policy	21

12.	References	22

Appendix 1. Tools and assessments	25

Appendix 2. study participant Flowchart	31

Appendix 3. CONSORT Flowchart	32

Lay summary

Medial osteoarthritis – wearing of the inside of the knee joint – can be treated with medial wedge high tibial osteotomy (HTO for short). This procedure involves cutting the tibial bone and introducing an opening wedge to change the angle of the knee joint and thereby shift the patient’s weight from the medial to the lateral side (outside) of the knee. This then negates the need for a partial or total knee replacement. As with other major knee operations, post-surgery a lot of swelling can develop in and around the site of operation. This is painful, may increase the risk of surgical wound infection and can limit a patient’s progress with post-operative mobilisation. Therefore, research is already ongoing in the field of knee replacement surgery to determine if different type of bandaging of the affected leg post-surgery may improve patient and clinical outcomes. A new method is now available which involves bandaging that compresses the leg. This may reduce pain and swelling because fluid cannot build up as easily. This present study aims to assess if compression bandaging is better than standard non-compression bandaging in terms of keeping a patient comfortable by reducing pain, swelling and enabling early mobilisation. A total of 68 patients will be recruited and allocated to either standard bandaging (34 patients) or 3M Coban compression bandaging (also 34 patients); follow-up of patients will be up to 12 weeks post-surgery. Apart from clinical outcomes data, such as incidence of infection and deep vein thrombosis/pulmonary embolism, plus readmission to hospital, patient-reported outcomes will be recorded too. These include pain experienced, degree of swelling of the affected leg, and knee joint functionality. The main objective of the study is whether 3M Coban bandaging is significantly better than standard bandaging at day 12 post-surgery when measured on a visual display pain scale.

Introduction

One treatment modality for medial osteoarthritis of the knee is open-wedge high tibial osteotomy (HTO). The current most common way of performing HTO is to use fixation plates with locking bolts implanted in the patient’s tibia, to allow increased stability & joint movement and the ability to be weight bearing on the affected leg sooner (Brinkman et al, 2010). Knee surgery, including HTO, is associated with post-surgery knee swelling and pain. This is caused by bleeding and inflammation-related fluid build-up in the intraarticular tissues (Holm et al, 2020). Swelling may impact negatively on recovery time and active early rehabilitation due to physical impairment that the swelling may cause (reduced knee joint flexibility) and associated pain (Mizner & Snyder-Mackler, 2005). This in turn may increase hospital length of stay and poor patient reported-outcomes (Moretti et al, 2012; Williams et al , 2013). Furthermore, knee joint and leg swelling is associated with increased rates of infection of the wound site (Yu et al 2002). Many service improvement programmes and techniques have been introduced in knee surgery over the years, including means to reduce intra-articular bleeding, tourniquets and medication (Martin et al , 2014). Initiatives in post-surgical management of patients have been less successful. These include methods such as the use of a cold compress (Morsi 2002), cryotherapy (Adie et al, 2012), elastic bandaging (Hughes et al, 1995) and some types of compression bandaging (Anderson et al, 2008; Charalambides et al, 2005).

Compression bandage therapy is established treatment of venous ulcers and lymphoedema

(Franks et al, 2004, Pike 2011). It is hypothesised that the application of this external compression aids venous return and reduces hydrostatic pressure in the leg by (i) improving the efficacy of the calf muscle pump and (ii) moving blood from the superficial to deep venous system, subsequently allowing movement of fluid from the interstitial space. The use of inelastic bandages are preferred in arthroplasty as they have a low, tolerable resting pressure but a more effective activation of the deep venous system and calf muscle pump with ambulation compared to their elastic counterparts (Spence & Cahall, 1996).

The efficacy in total knee arthroplasty is still unclear due to conflicting results in the literature and heterogeneous methodology (Munk et al, 2013; Pinsornsak P & Chumchuen, 2013; Cheung et al, 2014). An acute pain study by Andersen et al (2008), which did not focus on swelling or quality of life, utilised a compression bandage consisting of a double layer of soft padding and an outer elastic adhesive dressing compared with standard bandage in a randomised controlled trial of 48 patients. The intervention group had significantly reduced pain at 8 hours compared to a control group, though the bandage was combined with local anaesthetic infiltration.

Direct evidence on the role that different bandaging may play in improving post-operative outcomes after high tibial osteotomy is limited. Most HTO studies focus heavily on post-operative accuracy achieved in correcting the knee joint angle at circa 6 months post-surgery onwards (Amendola & Bonasia, 2010; Khoshbin et al, 2017).  Other surgery-related findings have been reported as an incidental finding, such as 2 DVTs in a sample of 47 HTO patients by Miller et al (2009). Therefore there is paucity in direct evidence relating to the use of bandaging in HTO. Our study runs parallel to a similar study that is taking place in total knee replacement patients, called KREBS (Knee REplacement Bandaging Study), see also http://www.isrctn.com/ISRCTN87127065 . There are however a few critical differences between KREBS and ROBOT. The primary objective of KREBS is to assess if 3M Coban bandaging improves knee functionality at 6 months post-surgery. The Oxford Knee Score that long after surgery may not be a suitable outcome measure for a device that is designed to impact on soft tissue (ie swelling and pain due to fluid in e.g. the knee joint). Hence the focus of ROBOT will be on pain and swelling at 12 days post-surgery. A second major difference will be the length of time the bandage will be applied for. In KREBS it is up to 48 hours, whereas in this present ROBOT study it will be up to 12 days (3M Coban has proven compression effect for at least 7 days).  One reason for limited appliance of bandaging in TKA patients may be because early knee flexion is instigated in those patients (Munk et al, 2013); this is less critical in HTO patients since the knee joint is not replaced.

The KREBS study originates from the STICKS study (Brocks et al, 2015). This feasibility study used 50 participants who underwent primary total knee arthroplasty and  they received either two layer short inelastic bandage (not 3M Coban) or a standard wool and crepe bandage for the first 24 hours post-operatively. The primary outcome measure was the Oxford Knee Score (OKS), measured pre-operatively and at six months. Secondary outcome measures included EQ-5D-3L index score, knee swelling, knee range of motion, visual analogue pain score and length of hospital stay. Feasibility data regarding recruitment rates, retention rates and complications with the bandage were also recorded. Mean OKS improvement was greater in the compression bandage group but was not statistically significant (p=0.438). There was a statistically significant improvement in mean

EQ-5D-3L index in the compression bandage group (p=0.049). There was no difference between groups regarding knee swelling, knee range of motion, visual analogue pain score, complications and length of stay. Again, the compression bandaging may not have been applied for long enough.

Taken together, preliminary data suggests that the use of an inelastic, short-stretch 2-layer compression bandage following knee surgery is a safe technique that may improve health outcomes. Therefore, we aim to assess its effectiveness and safety in a specific HTO patient population and we will focus on outcome measures up to 12 weeks post-surgery.

Investigational device & INTERVENTION

Investigational device

Full product information on the 3M Coban 2-layer compression system can be found on the 3M website:  https://www.3m.com/3M/en_US/company-us/all-3m-products/~/3M-Coban-2-Layer-Compression-System?N=5002385+3293321927&rt=rud

Key product details

- Comfortable – Provides sustained therapeutic compression for up to 7 days

- Stays in place – Clinically proven to significantly reduce slippage, to encourage longer wear

- Provides consistent compression – The compression layer is designed to be applied at full stretch, reducing application variability

- Enables a more normal lifestyle – The thin, lightweight, breathable sleeve allows patients to wear their own shoes, so they can return to their regular daily activities

- Easy to use – Application is fast, and easy to teach and learn.

- Not made with natural rubber latex

Engineered with Intelligent Compression Dynamics to stay in place and deliver comfortable, effective, therapeutic compression for venous leg ulcers and other conditions requiring compression

3M™ Coban™ 2 Two-Layer Compression System provide high compression (35–40 mmHg) for patients with ABPI greater than or equal to 0.8. Coban Layer Compression Systems are indicated for the treatment of venous leg ulcers, lymphedema and other conditions where compression is appropriate. Each system is supplied as a kit that includes two rolls: a Comfort Layer roll and a Compression Layer roll.

Intervention

Standard care (control) arm

As soon as the operation is finished and a wound dressing has been applied, the standard bandaging is applied. One layer of soft synthetic bandage , stretching from proximal tibia to distal femur covered by a further layer of crepe bandage prior to or after tourniquet deflation, with 50% overlap of each layer (cryotherapy can be applied over this if standard of care). The bandaging will be removed approximately 48 hours post-operatively whilst leaving the dressing in situ. The bandages can be removed sooner than 48 hours if the patients find them very uncomfortable or in the event of any adverse events that would require their removal.

3M Coban compression bandaging (intervention) arm

As with standard bandaging, the 3M Coban compression bandage will be applied over the routine surgical wound dressing. A foam inner bandage (Coban 2, 3M UK) is applied from the toe to the groin on the affected leg with minimal overlap. The second layer, which is the actual compression bandage (Coban 2, 3M UK) is applied at full stretch and with a 50% overlap of bandage to ensure adequate compression in the application. The mode of action of this two layer compressive bandage kit is of particular practical use, since it is tolerable for patients overnight due to its low resting pressure. Furthermore, it produces high pressure compression with movement to stimulate the calf muscle pump. The bandage is applied from the toes upwards. The application of bandage from thigh to groin requires removal of the tourniquet first and so the leg is kept elevated until the bandaging is complete. There is a training video available on correct application of the bandages and all involved healthcare professionals will be given a tutorial on bandage application with real life bandage application and feedback. The compression bandage has been shown to effect compression until 7 days post-surgery. Patients are allowed to continue wearing the bandage until they return to the hospital for removal of clips at the wound site at 12 days post-surgery. The bandages can be removed sooner if the patients find them very uncomfortable or in the event of any adverse events that would require their removal – this will be recorded on the Case Report Form and in medical notes. If required the patient is allowed to return to hospital or a GP clinic to have the 3M Coban bandaging reapplied if for any reason the first set needed to be taken off (3M instruction video can used to allow proper application).  To maintain consistency, clinical healthcare professionals who apply a new 3M Coban bandage need to sign a declaration that they have watched the training video and are comfortable complying with the instructions.

Apart from the difference in type of bandage, the protocol for the 3M Coban arm is identical to that of the standard care group. Used bandaging will be disposed of in line with local guidelines on disposal of clinical waste if in clinical location, or by patient in home setting.

Figures 1 & 2. Standard wool and crepe bandaging (left) vs Coban dual layer compression bandaging (right)

Source: Brock et al, 2015

Study hypothesis

Primary objective

- To assess the efficacy of 3M Coban compression bandaging for reduction of post-operative pain after high tibial osteotomy when compared with standard care bandaging.

Secondary objective

- To assess the efficacy of 3M Coban compression bandaging for reduction of post-operative swelling after high tibial osteotomy when compared with standard care bandaging.

- To assess the efficacy of 3M Coban compression bandaging for improvement of post-operative patient-reported outcome measures, including night rest and knee functionality, after high tibial osteotomy when compared with standard care bandaging.

Study protocol

Study design, recruitment sites and timeline

This concerns a multi-centre, controlled prospective randomized study of CE-marked medical devices. The study will be carried out in the following NHS Trust:

- North Cumbria University Hospitals NHS Trust, both Cumberland Infirmary, Carlisle, and West Cumberland Hospital, Whitehaven. CI/PI Mr Matt Dawson

- [Other NHS Trusts may be added, but this will be subject to HRA/NRES approval].

The study will take place in a hospital setting with support and oversight from the treating orthopaedic surgeon, nursing staff and research staff. Where appropriate, research delivery staff will be delegated to provide support with data collection and processing.

Table 1. Anticipated timeline

| Month | Setup | Recruitment | Analysis | Finalise |
| --- | --- | --- | --- | --- |
| Dec-17 | Submission for HRA approval |  |  |  |
| Jan-17 | NIHR portfolio adoption |  |  |  |
| Feb-17 | HRA and Trust approval | Start recruitment |  |  |
| Mar-19 |  | Finish recruitment |  |  |
| July-19 |  |  | Follow-up complete; Analyse data. |  |
| Aug-19 |  |  |  | manuscript & report writing |

Participant identification and research setting

Participants will be recruited from orthopaedics clinics and all eligible patients will be invited to take part until the required numbers have been achieved. Identification will be by the orthopaedics clinical team, who are supporting the study. A screening form will be completed for potentially eligible patients to confirm that they indeed meet the trial criteria.

To summarise, the orthopaedic team will:

- Identify potentially eligible patients and ask verbal consent for them being approached about the study by a member of the R&D team

- Complete the incl/excl criteria part of the screening form (if a patient has given verbal consent to being approached by the research team then they can complete the screening form)

Consent and recruitment

Those eligible will be approached and provided with an information pack and consent form, which will be signed to indicate that informed consent has been given. Patients will be given ample time to consider taking part, more than 24 hours if they wish. The study will be first mentioned at an orthopaedics out-patient clinic visit.  The direct healthcare professional will first approach a patient about the study, and after verbal consent by the patient the healthcare professional themselves or a member of the research team can go through the informed consent process.

Patients are also allowed to consent to taking part when first approached as long as the study has been discussed with the patient and they have been given time to read the patient information leaflet and opportunity to ask any questions that they may have. Participants will receive no incentives and consent will be regarded as a process and not a one-off event. Participants are free to withdraw from the study at any time without the need to give any reasons for withdrawal. Their standard of care will not be affected by either declining to participate in the study or withdrawing during participation. Data collected up to the date of withdrawal will be retained for analysis.

Participants will be randomised to either the control bandage group (TaU) or the intervention group (3M Coban) any time up until the day of surgery.

Follow-up

Patients are in the study for a period of 12 weeks. Thereafter, the patient will be followed up as they would be in normal clinical practice. Study visits are aligned to hospital/clinic visits where possible. Baseline data can be collected on the day of surgery (prior the actual operation), and 12 day and 6 week post-surgery data can be collected when the patient attends for standard follow-up in the orthopaedics out-patient department. Only the data at day 5 and week 3 and 12 falls outside these dates. In these instances, data can be collected over the phone, via e-mail or by mail (whichever is preferred by the patient). The researcher will phone/e-mail/mail the participant at week 12 to check on any adverse event reporting.

Outcome measures

Primary outcome measures

To determine the level of operation-site related pain experienced at day 12 post-operation and to compare the average pain scores of patients in the control and Coban arm respectively, through administration of 10 cm visual descriptor scale (VDS) for pain.

The study is powered to detect the established minimal clinically important difference (MCID) of 1.5 cm on a 10 cm VDS pain.

Secondary outcome measures

All the outcome measures are summarised in Table 2.

Table 2. Overview of measurements

| Weeks | -12 weeks to day of surgery | 0 surgery | 5 days## | 12 days# | 3 weeks# | 6 weeks* | 12 weeks* |
| --- | --- | --- | --- | --- | --- | --- | --- |
| VDS pain scale |  |  | X | X |  | X | X |
| McGill pain questionnaire |  |  | X | X |  | X | X |
| Richards-Campbell Sleep Questionnaire | X |  |  | X |  | X |  |
| Limb girth measurement | X |  |  | X | X |  |  |
| KOOS score | X |  |  |  |  |  | X |
| OKS | X |  |  |  |  |  | X |
| EQ-5D-5L | X |  |  |  |  |  | X |
| ABPI measurement | X |  |  |  |  |  |  |
| Patient satisfaction questionnaire re bandaging |  |  |  | X |  |  | X |

* Allowed to be up to 1 week early or late

# Allowed to be up to 2 days early or late

## Allowed to be up to 1 day early or late

Subjects

Anticipated number of research subjects

The sample size calculation does take into account a 10% patient attrition rate (withdrawal and loss to follow-up), since this involves a study with multiple timepoints for data collection up to 12 weeks. Patients will be recruited from the adult (age 18+) population routinely seen by the evaluating  clinical staff members.  The primary outcome measure is based on knee/leg (ie wound site) pain experienced 12-days post-surgery based on the VDS pain scale. The hypothetical difference in pain perception is 1.5 on a 10 cm scale which equates to a minimally clinically important difference for pain (Kelly 2001; Lee et al 2003; Tashjian et al 2009).

The non-parametric two-sided Mann-Whitney u-test is applied because the data is ordinal; 80% power and 5% significance is also applied. A priori power calculations using GPower 3.1 software, result in the following sample size summarized in Table 3.

Analysis will be performed on an intention-to-treat basis, although the number of days that a participant has worn a bandage will be recorded.

Table 3, Sample size calculation

|  | Mean pain score at 7 days post-op | Standard Deviation |
| --- | --- | --- |
| Arm A (hypothetical) | 6 | 2 |
| Arm B (hypothetical) | 4.5 | 2 |
|  | Power beta of 80%, Alpha p-value of 0.05, Effect size 0.75 Sample size required without any drop-out: 62 samples. Sample size with 10% attrition rate included: 68 Total of 68 patients: - 34 Patients to receive non-compression bandaging - 34 Patient to receive Coban dual-layer compression bandaging |  |

The CONSORT guidelines require a statement on the number of patients assessed for eligibility (Schulz, Altman & Moher 2010). The number of patients screened but who did not meet the inclusion criteria or who declined to participate will be recorded, as will any patients who are lost to follow-up (Appendix 3).

Randomisation

Following written consent, participants are allocated at random to the control or Coban intervention group, using a randomised sequence from the freeware randomisation programme, see https://www.randomizer.org/ .  No stratified or block randomisation will be undertaken.

Sequential envelopes with each next randomisation allocation will be used to achieve concealment and these will be kept in the research department. The researcher or regular healthcare professional for the participant in question can e-mail (research@cumbria.nhs.uk   ) or phone the R&D Dept (01228 602173) to determine which treatment the next participant has been allocated to.

Eligibility criteria

Inclusion criteria

- Patient who is listed for unilateral high tibial osteotomy using a fixed plate device at one of participating NHS Trusts.

- Clinical indication, in the opinion of the treating surgeon, that dual-layer compression bandaging may be of benefit to the patient

- Adult patients aged > 18 years

- Ankle brachial index measured within 12 weeks

- Mental capacity to give written informed consent

Exclusion criteria

- Under the age of 18 years

- Unable to fully understand the consent process and provide informed consent due to either language barriers or mental capacity

- Revision high tibial osteotomy.

- Limited life expectancy, i.e. undergoing palliative care

- Any condition that is associated with excessive bleeding, coagulation abnormalities or any other significant haematological condition (e.g. Factor V Leiden, haemophilia).

- Cardiovascular or vascular condition that in the opinion of the treating surgeon contraindicates the use of compression bandaging, including moderate to severe peripheral arterial disease, venous leg ulcer, high dose anti-coagulant medication

- Any skin or other condition that contraindicates the use of compression bandaging, including diabetic foot ulcer and peripheral neuropathy.

- Patients who are participating in another interventional research study involving an investigational product related to the osteotomy procedure and its aftercare.

- The patient has concurrent (medical) conditions that in the opinion of the investigator may compromise patient safety or study objectives.

- Ankle brachial index < 0.8 or lack of foot pulses, measured within 12 weeks of surgery

Early withdrawal of subjects

Patients have the right to withdraw from the trial at any time and without giving any reason. If a patient withdraws from the trial, any and all information gathered prior to the withdrawal will be excluded in the analysis, no further data collection will occur. If a patient does not attend a planned follow-up appointment then two more attempts will be made to contact the patient regarding the study. If still no contact can be made then the patient is deemed lost to follow-up and any collected study data will be retained.

Safety

Potential risks & benefits to study participants

There is no anticipated personal safety risk associated with taking part in this study. If the research team learns of important new information that might affect the patient’s desire to remain in the study, he or she will be told. Appropriate precautions are in place to ensure medical and personal information is kept safe through adhering to appropriate governance regulations. Any adverse events will be recorded, as outlined in sections below.

For the participants in the control group there is no direct benefit in taking part in this study. They will be cared for in exactly the same manner as they normally would. For participants in the 3M Coban intervention group, there may be benefits in terms of improved DFU healing compared to normal standard care. Although there is initial evidence that this is indeed the case, this has not yet been proven and established through a prospective randomised trial, and this study is aimed to assess this. Participants cannot claim payments, reimbursement of expenses or any other benefits or incentives for taking part in this research.

Safety definitions

| Adverse Event (AE) | Any untoward medical occurrence in a patient or other clinical investigation participant taking part in a trial of a medical device, which does not necessarily have to have a causal relationship with the device under investigation. An AE can therefore be any unfavourable and unintended sign (including an abnormal laboratory finding), symptom or disease temporally associated with the use of the device, whether or not considered related to the device. |
| --- | --- |
| Serious Adverse Event | A serious adverse event is any untoward medical occurrence that: - results in death - is life-threatening - requires inpatient hospitalisation or prolongation of existing hospitalisation - results in persistent or significant disability/incapacity - consists of a congenital anomaly or birth defect. Other ‘important medical events’ may also be considered serious if they jeopardise the participant or require an intervention to prevent one of the above consequences. NOTE: The term "life-threatening" in the definition of "serious" refers to an event in which the participant was at risk of death at the time of the event; it does not refer to an event which hypothetically might have caused death if it were more severe. |

Procedures for recording adverse events

All AEs need to be reported to the sponsor/host Trust R&D within one working day of the investigator team becoming aware of them.  For this purpose an AE report form is completed by the researcher and/or Chief Investigator

The relationship of each adverse event to the trial must be determined by the Chief Investigator, a medically qualified individual, according to the following definitions:

- Related: The adverse event follows a reasonable temporal sequence from swabbing. It cannot reasonably be attributed to any other cause.

- Not Related: The adverse event is probably produced by the participant’s clinical state or by other modes of therapy administered to the participant.

- Severity grading: the Chief Investigator will also record if it concerns an AE or SAE.

This is recorded on the aforementioned AE reporting form.  The forms are stored in the study site file.

Pseudo-anonymised copies of all adverse events forms will be shared with InFirst as soon as causality reporting has been performed and concluded.

Statistical consideration and data analysis plan

Analysis of baseline characteristics

To determine the demographics and characteristics of the patients in the two arms the following data will be collated:

- Age (yrs)

- Gender

- Height (kg), weight (cm), BMI

- Significant comorbidities not already covered by the inclusion and exclusion criteria, such as sleep apnoea.

Data concerning the actual osteotomy procedure will also be collected, including:

- Exact type of plate device applied and which leg operated on

- Length of operation (min) and blood loss (ml) during operation

- Type of anaesthetic and analgesics prescribed post-surgery

- Hospital length of stay (days)

- Moment physiotherapy and early recovery initiated

- Type of standard bandaging applied if control patient.

Any differences in distribution will be established with Chi-squared test or Mann-Whitney U-test/t-test (depending on distribution of data) as indicated.

Primary outcome statistics

To determine the level of operation-site related pain experienced at day 12 post-operation and to compare the average pain scores of patients in the control and Coban arm respectively, through administration of 10 cm visual descriptor scale (VDS) for pain.

The study is powered to detect the established minimal clinically important difference (MCID) of 1.5 cm on a 10 cm VDS pain.

The average difference between time points will be calculated per group, 12 days post-surgery weeks being the primary endpoint.  Five days, 6 weeks and 12 weeks post-surgery will also be analysed. To compare the groups, the Mann-Whitney U-test will be applied.

To avoid relying on one outcome measure related to pain, at 5, 12 days, and 6, 12 weeks post-surgery pain perception will also be measured using the short form McGill pain questionnaire.  Again, to compare groups the Mann-Whitney U-test will be applied.

Secondary outcome statistics

The average baseline demographics for participants in each group will be compared to ascertain that randomisation has indeed led to comparable distribution of participants:

Sex, age, height, weight, BMI, length of stay, type of anaesthetic for surgery and type of analgesics post-surgery, ABPI, .

To compare outcomes between the two groups (standard vs 3M Coban bandaging), student t-test,  Mann-Whitney U-test or Chi-squared test will be applied as applicable, depending on type and distribution of data .

Cox proportional hazards regression analysis will be conducted to investigate the role of bandaging and other covariates (as mentioned above) in post-surgery related pain, swelling and knee function.

The statistics apply to:

Two to 12 weeks prior to surgery, and  12 days and 6 weeks post-surgery

- Quality of night rest as measured by Richards-Campbell Sleep Questionnaire (two consecutive nights per time point)

At least 2 weeks prior to surgery,  and 12 days, 3 weeks post-surgery

- Indication of degree of swelling by measurement of thigh, suprapatellar and calf girth.

At least 2 weeks prior to surgery, and 12 weeks post-surgery, knee function and quality of life measurements: Knee and Osteoarthritis Outcome Score (KOOS); Oxford Knee Score (OKS); Quality of life as measured with EQ-5D-5L.

Descriptive safety overview at 30 days and 12 weeks post-surgery:

- Readmitted to theatre and/or hospital

- Infection of wound site

- Diagnosed with pulmonary embolism or deep vein thrombosis.

Patient satisfaction survey at 12 days and 12 weeks post-surgery – any difference in outcome will be determined with Mann-Whitney U-test

Data handling and monitoring

Data arising from this study is confidential. Identifiable information can only be accessed by delegated members of the study team. Anyone in the research team who does not have a substantive contract with Cumbria Partnership NHS Trusts or one of the recruiting NHS Trusts will need to apply for a letter of access via the NIHR research passport scheme, should they require access to identifiable study data.

Patient identifiable data will only be used within each respective Trust and by the core research team. All identifiable data is stored on password protected NHS computer systems. Anonymised data will be shared and stored using security-enabled systems such as password-protection and encryption of e-mails and files. The requirements of the Data Protection Act and NHS Code of Confidentiality will be followed at all times. All researchers will be fully trained in NHS Confidentiality and GCP.  Participants’ GP practices will be informed that they are taking part in the study.

All paper data will be held in secure locked environments in the office of the Research & Development department in the Carleton Clinic, Carlisle, Cumbria Partnership. Data released (e.g. by publication) will contain no information that could lead to the identification of an individual participant. Upon completion of the study the site files will be archived for a period of 15 years in line with local archiving policy and procedures. Direct access to data only will be granted to authorised representatives from the sponsor / host institution, grant funder and medical device provider (3M) and the regulatory authorities to permit trial-related monitoring, audits and inspections.

This investigator-initiated trial will be monitored in terms of conduct of the study by the in-house research team, led by the Chief Investigator, who will convene on a monthly basis in person or via phone/e-mail. A formal trial steering committee will not be convened for this trial – however, when data is available for 50% of the sample an interim analysis will take place to assess if there are any points of concern to consider. The study can be audited by the in-house R&D department as part of their rolling audit programme of sponsored and hosted research studies. As part of the research grant agreement, anonymised study data will be shared with 3M for review and for potential publication purposes. No identifiable data, including on potential exemplar case photos, will be contained in any of this data.

Goverance of study

Approvals

This study will be conducted in compliance with the protocol approved by the Health Research Authority, National Research Ethics Service, and local Trust R&D Approval, and according to Good Clinical Practice standards including the Declaration of Helsinki (1964, Amended Oct 2013). No deviation from the protocol will be implemented without the prior review and approval of the aforementioned review bodies, except where it may be necessary to eliminate an immediate hazard to a research subject. In such case, the deviation will be reported according to policies and procedures

Sponsor & Indemnity

Cumbria Partnership NHS Trust is the sponsor of this study and therefore NHS indemnity applies for design, conduct and management of the study. 3M UK PLC has provided a grant for this study by means of provision of the Coban bandaging material worth £1,000.

Patients will not be given financial incentives for taking part in the study. Travel expenses are not offered in this study since patients are not seen in clinic more frequently than they would normally attend as part of their normal care pathway.

Publication and data-sharing policy

The study will be registered on ISRCTN or Clinical Trials Gov website, in line with CONSORT guidelines on good practice in clinical research.

The results of this study are planned to be disseminated through:

- Peer-reviewed manuscript in scientific journal

- Internal report to the funder of the trial, 3M

As stated in the PIL and ICF, anonymised study data will be shared with 3M as part of the research grant agreement.

A summary of the main findings can be supplied to participants on request and this will be stated in the informed consent form.

References

Adie S, Kwan A, Naylor JM, Harris IA, Mittal R. Cryotherapy following total knee

replacement. Cochrane Database Syst Rev. 2012;9:CD007911.

Amendola, A. and Bonasia, D.E., 2010. Results of high tibial osteotomy: review of the literature. International orthopaedics, 34(2), pp.155-160.

Andersen LO, Husted H, Otte KS, Kristensen BB, Kehlet H. A compression bandage

improves local infiltration analgesia in total knee arthroplasty. Acta Orthop. 2008;79:806–

11.

Brock TM, Sprowson AP, Muller S, Reed MR. Short-stretch inelastic compression bandage in knee swelling following total knee arthroplasty study (STICKS): study protocol for a randomised controlled feasibility study. Trials. 2015;16(1):87.

Charalambides C, Beer M, Melhuish J, Williams RJ, Cobb AG. Bandaging technique

after knee replacement. Acta Orthop. 2005;76:89–94.

Cheung A, Lykostratis H, Holloway I. Compression bandaging improves mobility

following total knee replacement in an enhanced recovery setting. J Perioper Pract.

2014;24(4):84-6.

Fahrer H, Rentsch HU, Gerber NJ, Beyeler C, Hess CW, Grunig B. Knee effusion and

reflex inhibition of the quadriceps. A bar to effective retraining. J Bone Joint Surg.

1988;70:635–8.

Franks PJ, Moody M, Moffatt CJ, Martin R, Blewett R, Seymour E, et al. Randomized trial of cohesive short-stretch versus four-layer bandaging in the management of venous ulceration. Wound Repair Regen. 2004;12:157–62.

Holm B, Kristensen MT, Bencke J, Husted H, Kehlet H, Bandholm T. Loss of kneeextension

strength is related to knee swelling after total knee arthroplasty. Arch Phys Med

Rehabil. 2010;91:1770–6.

Hughes DL, Crosby AC. Treatment of knee sprains: modified Robert Jones or elastic

support bandage? J Accid Emerg Med. 1995;12:115–8.

Kelly, A.M., 2001. The minimum clinically significant difference in visual analogue scale pain score does not differ with severity of pain. Emergency Medicine Journal, 18(3), pp.205-207.

Khoshbin, A., Sheth, U., Ogilvie-Harris, D., Mahomed, N., Jenkinson, R., Gandhi, R. and Wasserstein, D., 2017. The effect of patient, provider and surgical factors on survivorship of high tibial osteotomy to total knee arthroplasty: a population-based study. Knee Surgery, Sports Traumatology, Arthroscopy, 25(3), pp.887-894.

Lee, J.S., Hobden, E., Stiell, I.G. and Wells, G.A., 2003. Clinically important change in the visual analog scale after adequate pain control. Academic Emergency Medicine, 10(10), pp.1128-1130

Martin JG, Cassatt KB, Kincaid-Cinnamon KA, Westendorf DS, Garton AS, Lemke JH.

Topical Administration of Tranexamic Acid in Primary Total Hip and Total Knee Arthroplasty.

J Arthroplasty. 2014;29(5):889–94

Melzack, R., 1987. The short-form McGill pain questionnaire. Pain, 30(2), pp.191-197.

Miller, B.S., Downie, B., McDonough, E.B. and Wojtys, E.M., 2009. Complications after medial opening wedge high tibial osteotomy. Arthroscopy: The Journal of Arthroscopic & Related Surgery, 25(6), pp.639-646.

Mizner RL, Snyder-Mackler L. Altered loading during walking and sit-to-stand is

affected by quadriceps weakness after total knee arthroplasty. J Orthop Res. 2005;23:1083–

90.

Moher D, Schulz KF, Altman DG, Group C. The CONSORT statement: revised recommendations for improving the quality of reports of parallel-group randomised trials. The Lancet. 2001;357(9263):1191-4.

Moretti B, Notarnicola A, Moretti L, Setti S, De Terlizzi F, Pesce V, et al. I-ONE therapy in patients undergoing total knee arthroplasty: a prospective, randomized and controlled study. BMC Musculoskelet Disord. 2012;13:88.

Morsi E. Continuous-flow cold therapy after total knee arthroplasty. J Arthroplasty.

2002;17:718–22.

Munk S, Jensen NJ, Andersen I, Kehlet H, Hansen TB. Effect of compression therapy

on knee swelling and pain after total knee arthroplasty. Knee Surg Sports Traumatol

Arthrosc. 2013;21:388–92.

Pike C. Using Actico bandaging for chronic oedema/lymphoedema management. Br J

Nurs. 2011;20:1246, 8–51.

Pinsornsak P, Chumchuen S. Can a modified Robert Jones bandage after knee arthroplasty reduce blood loss? A prospective randomized controlled trial. Clin Orthop Relat Res. 2013;471:1677–81.

Richards, K. C., O’Sullivan, P. S., & Phillips, R. L. (2000). Measurement of sleep in critically ill patients. Journal of Nursing Measurements, 8(2), 131–144.

Spence RK, Cahall E. Inelastic versus elastic leg compression in chronic venous

insufficiency: a comparison of limb size and venous hemodynamics. J Vasc Surg.

1996;24:783–7.

Tashjian, R.Z., Deloach, J., Porucznik, C.A. and Powell, A.P., 2009. Minimal clinically important differences (MCID) and patient acceptable symptomatic state (PASS) for visual analog scales (VAS) measuring pain in patients treated for rotator cuff disease. Journal of Shoulder and Elbow Surgery, 18(6), pp.927-932.

Williams DP, O'Brien S, Doran E, Price AJ, Beard DJ, Murray DW, et al. Early

postoperative predictors of satisfaction following total knee arthroplasty. Knee.

2013;20:442–6.

Yu GV, Schubert EK, Khoury WE. The Jones compression bandage. Review and clinical

applications. J Am Podiatr Med Assoc. 2002;92:221–31.

29. Clark, L., et al., Electronic prompts significantly increase response rates to postal

questionnaires: a randomized trial within a randomized trial and meta-analysis. Journal of

clinical epidemiology, 2015. 68(12): p. 1446-1450.

30. Haynes, L.C., et al., Collection of delinquent fines: An adaptive randomized trial to assess

The effectiveness of alternative text messages. Journal of Policy Analysis and Management, 2013.

32(4): p. 718-730.

- Appendix 1. Tools and assessments

This appendix contains:

- Visual Descriptor Pain scale

- Short-form McGill pain questionnaire

- Richards-Campbell Sleep Questionnaire

- EQ-5D-5L Questionnaire

The KOOS score, OKS score and Bandage Patient Satisfaction Questionnaire are enclosed separately to this protocol.

Visual Descriptor Pain score

How painful has your leg, the one has been operated on, been in the last 2 days:

Please put a vertical line on the numbered bar above.

We kindly ask you consider the leg as a whole.

Short-form McGill pain questionnaire

The McGill Pain Questionnaire: Major properties and scoring methods . Melzack, 1987

Richards-Campbell Sleep Questionnaire

Richards et al, 2000.

EQ-5D-5L

Screening

Appendix 2. study participant Flowchart

Patient identified by clinical staff member

Verbal consent requested to explain study

Patient Information Sheet is provided to patient

-12 weeks to day of surgery: Screening

Patient identified by clinical staff member

Consent requested to explain study

Screening form completed

Richards-Campbell Sleep Questionnaire (6 weeks) and Patient satisfaction questionnaire (12 weeks)

& VDS Pain Scale, McGill pain questionnaire, KOOS score, OKS, EQ5D-5L (6 & 12 weeks)

6 week visit: clinic/e-mail/phone/text

12 week visit: e-mail/phone/text

5 days post-surgery: VDS Pain Scale, McGill pain questionnaire (e-mail/phone/text)

12 days post-surgery: VDS Pain Scale, McGill pain questionnaire (clinic)

3 weeks post-surgery: Limb girth measurement (e-mail/phone/text)

Patients have sufficient time to consider the study and ask questions; Consent is obtained.

ABPI measurement; Richards-Campbell Sleep Questionnaire; Limb girth measurement; KOOS score; OKS; EQ5D-5L

Patients are randomised and have osteotomy surgery

Patient is allocated to Coban bandaging group

Coban bandaging is applied as per manufacturer’s instructions

6 & 12 weeks (+/- 1 week window)

Consent process, baseline measures

Patient ineligible

Patient declines to participate

0 -12 days:  Intervention phase

Screening

Screening

Patient is allocated to CONTROL (Treatment as Usual) group

Standard bandaging applied

Patients are randomised

- Appendix 3. CONSORT Flowchart

Screening phase

Assessed for eligibility (n=  )

Excluded  (n=   )

   Not meeting inclusion criteria (n=  )

   Declined to participate (n=  )

   Other reasons (n=  )

Informed consent (n=  )

Intervention phase (Randomized)

Analysis

Analysed  (n=  )
 Excluded from analysis (give reasons) (n=  )

Allocated to standard care (n=  )

 Received allocated intervention (n=  )

 Did not receive allocated intervention (give reasons) (n=  ) – not applicable

Allocated to Granulox intervention (n=  )

 Received allocated intervention (n=  )

 Did not receive allocated intervention (give reasons) (n=  )

Analysed  (n=  )
 Excluded from analysis (give reasons) (n=  )

Lost to follow-up (give reasons) (n=  )

Lost to follow-up (give reasons) (n=  )

Follow-Up

*Based on CONSORT Flowchart (Moher et al, 2001)